Hazardous Waste Determination

Applies to waste generated as the result of chemical use.

Does not apply to evaluation of unused chemicals, or spill clean-up materials.

(contact Corey Lynch with questions about these items).

To determine if a waste is a hazardous waste, answer the following questions. If the answer to any question is yes, then the waste is a hazardous waste.  Answer all the questions for each waste to identify all the hazards associated with the waste and required on the label. Information on the characteristics (e.g. flash point) of chemicals can be found on the Safety Data Sheet (SDS).

Area:				 Faculty/Staff:					Date:

| Waste Description: |
| --- |
| Waste Evaluation | Yes/No | If yes, LABEL |
| Contains Flammable solvents (flash point < 140oF) Exception: aqueous solutions of < 24% ethyl alcohol |  | Flammable |
| Contains halogenated compounds |  | Toxic |
| Is Reactive (unstable materials, reacts with water to form potentially explosive mixtures or toxic gases, contains cyanides or sulfides, explosives) |  | Reactive |
| Is an Oxidizer (materials that readily yields oxygen, or accepts electrons, to stimulate combustion) |  | Oxidizer |
| Is a Flammable Solid (capable of catching fire through friction, adsorption of moisture or spontaneous changes) |  | Flammable |
| Has a pH < 2 or > 12.5 |  | Corrosive |
| Contains any of the following metals at or above the conc. in mg/l. Arsenic 5 Barium 100 Cadmium 1 Chromium 5 Lead 5 Mercury 0.2 Selenium 1 Silver 5 |  | Toxic |
| Contains any of the following pesticides at or above the conc. in mg/l Chlordane 0.03 2,4 D 10 Endrin 0.02 Heptachlor 0.008 Lindane 0.4 Methoxychlor 10 Pentachlorophenol 100 Toxaphene 0.5 2,4,5-TP 1.0 |  | Toxic |
| Contains any of the following organics at or above the conc. in mg/l Benzene 0.5 Cresol, o-, p-, m- 200 2,4-dinitrotoluene 0.13 Methyl ethyl ketone 200 Nitrobenzene 2 Pyridine 5 Vinyl Chloride 0.2 |  | Toxic |
| Contains petroleum oil or polychlorinated biphenyls |  | Toxic |

| Approved Waste Disposal Method |
| --- |
| Hazardous Waste |  |
| Sewer Disposal |  |
| Trash Disposal |  |

EH&S 7/2017